## param_methode_REPHY
PARAM | METHODE | BODC | Nom complet
CHLOROA | Spectrophotométrie monochromatique (Aminot A. Kérouel R. 2004 - Chlorophylle) | CPHLSXP1 | Concentration of chlorophyll-a {chl-a CAS 479-61-8} per unit volume of the water body [particulate >GF/F phase] by filtration, acetone extraction and spectrophotometry
CHLOROA | Fluorimétrie (Aminot A. Kérouel R. 2004 - Chlorophylle) | CPHLFLP1 | Concentration of chlorophyll-a {chl-a CAS 479-61-8} per unit volume of the water body [particulate >GF/F phase] by filtration, acetone extraction and fluorometry
CHLOROA | Spectrophotométrie monochromatique (Aminot et Chaussepied 1983 - Chlorophylle) | CPHLSXP1 | Concentration of chlorophyll-a {chl-a CAS 479-61-8} per unit volume of the water body [particulate >GF/F phase] by filtration, acetone extraction and spectrophotometry
CHLOROA | Fluorimétrie (Neveux J. et Panouse M. 1987 - Chlorophylle) | CPHLFLP1 | Concentration of chlorophyll-a {chl-a CAS 479-61-8} per unit volume of the water body [particulate >GF/F phase] by filtration, acetone extraction and fluorometry
CHLOROA | Chromatographie liquide - pigments phytoplanctoniques (Zapata et al. 2000) | CPHLMHP1 | Concentration of chlorophyll-a {chl-a CAS 479-61-8} per unit volume of the water body [particulate >GF/F phase] by filtration, methanol extraction and high performance liquid chromatography (HPLC)
CHLOROA | Chromatographie liquide - pigments phytoplanctoniques (Van Heukelem et Thomas 2001) | CPHLHPP1 | Concentration of chlorophyll-a {chl-a CAS 479-61-8} per unit volume of the water body [particulate >GF/F phase] by filtration, acetone extraction and high performance liquid chromatography (HPLC)
CHLOROA | Chromatographie liquide - pigments phytoplanctoniques (Ras et al., 2008) | CPHLMHP1 | Concentration of chlorophyll-a {chl-a CAS 479-61-8} per unit volume of the water body [particulate >GF/F phase] by filtration, methanol extraction and high performance liquid chromatography (HPLC)
CHLOROA | Spectrométrie d'absorption moléculaire (NF T90-117 1999 - Chlorophylle) | CPHLSXP1 | Concentration of chlorophyll-a {chl-a CAS 479-61-8} per unit volume of the water body [particulate >GF/F phase] by filtration, acetone extraction and spectrophotometry
CHLOROA | Spectrophotométrie trichromatique (Aminot A. Kérouel R. 2004 - Chlorophylle) | CPHLSSP1 | Concentration of chlorophyll-a {chl-a CAS 479-61-8} per unit volume of the water body [particulate >GF/F phase] by filtration, acetone extraction and trichromatic spectrophotometry following the Jeffrey and Humphrey protocol
CHLOROA | Spectrophotométrie trichromatique (UNESCO 1997 - Chlorophylle) | CPHLSSP1 | Concentration of chlorophyll-a {chl-a CAS 479-61-8} per unit volume of the water body [particulate >GF/F phase] by filtration, acetone extraction and trichromatic spectrophotometry following the Jeffrey and Humphrey protocol
CHLOROA | Spectrophotométrie trichromatique (UNESCO 1981 - Chlorophylle) | CPHLSSP1 | Concentration of chlorophyll-a {chl-a CAS 479-61-8} per unit volume of the water body [particulate >GF/F phase] by filtration, acetone extraction and trichromatic spectrophotometry following the Jeffrey and Humphrey protocol
NH4 | Fluorimétrie flux (Aminot A. Kérouel R. 2007 - Ammonium) | AMONDSRX | Concentration of ammonium {NH4+ CAS 14798-03-9} per unit volume of the water body [dissolved plus reactive particulate phase] by ammonium fluorometry after Kerouel and Aminot (1997)
NH4 | Spectrophotométrie manuelle (Aminot A. Kérouel R. 2004 - Ammonium) | AMONMATX | Concentration of ammonium {NH4+ CAS 14798-03-9} per unit volume of the water body [dissolved plus reactive particulate phase] by manual colorimetric analysis
NH4 | Spectrophotométrie manuelle (Aminot et Chaussepied 1983 - Ammonium) | AMONMATX | Concentration of ammonium {NH4+ CAS 14798-03-9} per unit volume of the water body [dissolved plus reactive particulate phase] by manual colorimetric analysis
NH4 | Spectrophotométrie flux (Tréguer P., LeCorre P, 1975 - Ammonium) | AMONFID2 | Concentration of ammonium {NH4+ CAS 14798-03-9} per unit volume of the water body [dissolved plus reactive particulate <0.4/0.45um phase] by filtration and flow-injection analysis
NH4 | Spectrophotométrie flux (Aminot A. Kérouel R. 2007 - Ammonium) | AMONFID2 | Concentration of ammonium {NH4+ CAS 14798-03-9} per unit volume of the water body [dissolved plus reactive particulate <0.4/0.45um phase] by filtration and flow-injection analysis
NH4 | Spectrophotométrie manuelle (NF T90-015-2 - Ammonium) | AMONMATX | Concentration of ammonium {NH4+ CAS 14798-03-9} per unit volume of the water body [dissolved plus reactive particulate phase] by manual colorimetric analysis
NO3+NO2 | Spectrophotométrie flux (Aminot A. Kérouel R. 2007 - Nitrite + nitrate) | NTRZAATX | Concentration of nitrate+nitrite {NO3+NO2} per unit volume of the water body [dissolved plus reactive particulate phase] by colorimetric autoanalysis
NO3+NO2 | Spectrophotométrie manuelle (Aminot A. Kérouel R. 2004 - Nitrite + nitrate) | NTRZMATX | Concentration of nitrate+nitrite {NO3+NO2} per unit volume of the water body [dissolved plus reactive particulate phase] by manual colorimetric analysis
NO3+NO2 | Spectrophotométrie flux (Tréguer P., LeCorre P, 1975 - Nitrite + nitrate) | NTRZAATX | Concentration of nitrate+nitrite {NO3+NO2} per unit volume of the water body [dissolved plus reactive particulate phase] by colorimetric autoanalysis
NO3+NO2 | Chromatographie liquide (NF EN ISO 10304-1) | NTRZNHPX | Concentration of nitrate+nitrite {NO3+NO2} per unit volume of the water body [dissolved plus reactive particulate phase] by high performance liquid chromatography (HPLC)
NO3+NO2 | Spectrophotométrie manuelle (Aminot et Chaussepied 1983 - Nitrite + nitrate) | NTRZMATX | Concentration of nitrate+nitrite {NO3+NO2} per unit volume of the water body [dissolved plus reactive particulate phase] by manual colorimetric analysis
NO3+NO2 | Spectrophotométrie flux (Tréguer P., LeCorre P, 1975 - Nitrite) | NTRZAATX | Concentration of nitrate+nitrite {NO3+NO2} per unit volume of the water body [dissolved plus reactive particulate phase] by colorimetric autoanalysis
NO3+NO2 | Spectrophotométrie flux (NF EN ISO 13395 - Nitrite + nitrate) | NTRZAATX | Concentration of nitrate+nitrite {NO3+NO2} per unit volume of the water body [dissolved plus reactive particulate phase] by colorimetric autoanalysis
OXYGENE | Capteur oxygène à luminescence | DOXYAAOP | Concentration of oxygen {O2 CAS 7782-44-7} per unit volume of the water body [dissolved plus reactive particulate phase] by optode
OXYGENE | Capteur oxygène à membrane électrochimique | DOXYPE01 | Concentration of oxygen {O2 CAS 7782-44-7} per unit volume of the water body [dissolved plus reactive particulate phase] by in-situ pulsed electrode
OXYGENE | Oxymètre à membrane électrochimique | DOXYPE01 | Concentration of oxygen {O2 CAS 7782-44-7} per unit volume of the water body [dissolved plus reactive particulate phase] by in-situ pulsed electrode
OXYGENE | Titrage Winkler - oxygène | DOXYWITX | Concentration of oxygen {O2 CAS 7782-44-7} per unit volume of the water body [dissolved plus reactive particulate phase] by Winkler titration
PO4 | Spectrophotométrie manuelle (Aminot A. Kérouel R. 2004 - Phosphate) | PHOSMAD1 | Concentration of phosphate {PO43- CAS 14265-44-2} per unit volume of the water body [dissolved plus reactive particulate <GF/F phase] by filtration and manual colorimetric analysis
PO4 | Spectrophotométrie flux (Aminot A. Kérouel R. 2007 - Phosphate) | PHOSAAD1 | Concentration of phosphate {PO43- CAS 14265-44-2} per unit volume of the water body [dissolved plus reactive particulate <GF/F phase] by filtration and colorimetric autoanalysis
PO4 | Spectrophotométrie flux (Tréguer P., LeCorre P, 1975 - Phosphate) | PHOSAAD1 | Concentration of phosphate {PO43- CAS 14265-44-2} per unit volume of the water body [dissolved plus reactive particulate <GF/F phase] by filtration and colorimetric autoanalysis
PO4 | Spectrophotométrie manuelle (NF EN ISO 6878 - Phosphate) | PHOSMAD1 | Concentration of phosphate {PO43- CAS 14265-44-2} per unit volume of the water body [dissolved plus reactive particulate <GF/F phase] by filtration and manual colorimetric analysis
PO4 | Spectrophotométrie manuelle (Aminot et Chaussepied 1983 - Phosphate) | PHOSMAD1 | Concentration of phosphate {PO43- CAS 14265-44-2} per unit volume of the water body [dissolved plus reactive particulate <GF/F phase] by filtration and manual colorimetric analysis
PO4 | Colorimétrie selon Murphy et Riley (3) - AFNOR | PHOSAAD1 | Concentration of phosphate {PO43- CAS 14265-44-2} per unit volume of the water body [dissolved plus reactive particulate <GF/F phase] by filtration and colorimetric autoanalysis
SALI | Capteur de conductivité in situ | PSALTC01 | Practical salinity of the water body by in-situ conductivity cell and computation using UNESCO 1983 algorithm
SALI | Densimétrie | PSALHD01 | Practical salinity of the water body by hydrometry and computation using UNESCO 1983 algorithm | sera indiqué comme tel attente du code
SALI | Capteur de conductivité dans échantillon | PSALPR01 | Practical salinity of the water body by conductivity cell and computation using UNESCO 1983 algorithm
SALI | Titrage de Knudsen - salinité | PSALKT01 | Practical salinity of the water body by titration against silver nitrate (AgNO3) and computation using UNESCO 2010 algorithm | attente
SALI | Réfractométrie | PSALRF01 | Practical salinity of the water body by refractometry and computation using UNESCO 1983 algorithm | sera indiqué comme tel attente du code
SALI | Salinomètre | PSALBSTX | Practical salinity of the water body by bench salinometer and computation using UNESCO 1983 algorithm
SIOH | Spectrophotométrie flux (Aminot A. Kérouel R. 2007 - Silicate) | SLCAAATX | Concentration of silicate {SiO44- CAS 17181-37-2} per unit volume of the water body [dissolved plus reactive particulate phase] by colorimetric autoanalysis
SIOH | Spectrophotométrie flux (Tréguer P., LeCorre P, 1975 - Silicate) | SLCAAATX | Concentration of silicate {SiO44- CAS 17181-37-2} per unit volume of the water body [dissolved plus reactive particulate phase] by colorimetric autoanalysis
SIOH | Spectrophotométrie flux (NF EN ISO 16264 - Silicate) | SLCAAATX | Concentration of silicate {SiO44- CAS 17181-37-2} per unit volume of the water body [dissolved plus reactive particulate phase] by colorimetric autoanalysis
SIOH | Spectrophotométrie manuelle (Aminot A. Kérouel R. 2004 - Silicate) | SLCAMATX | Concentration of silicate {SiO44- CAS 17181-37-2} per unit volume of the water body [dissolved plus reactive particulate phase] by manual colorimetric analysis
SIOH | Spectrophotométrie manuelle (Aminot et Chaussepied 1983 - Silicate) | SLCAMATX | Concentration of silicate {SiO44- CAS 17181-37-2} per unit volume of the water body [dissolved plus reactive particulate phase] by manual colorimetric analysis
SIOH | Spectrométrie d'absorption moléculaire (NF T90-007 - Silicate) | SLCAMATX | Concentration of silicate {SiO44- CAS 17181-37-2} per unit volume of the water body [dissolved plus reactive particulate phase] by manual colorimetric analysis
TEMP | Capteur de température in situ | PSSTTS01 | Temperature of the water body by in-situ thermometer
TEMP | Thermomètre à mercure dans échantillon | TEMPPR01 | Temperature of the water body
TEMP | Thermomètre à mercure in situ | PSSTTS01 | Temperature of the water body by in-situ thermometer
TEMP | Thermomètre à renversement | TEMPRTNX | Temperature of the water body by reversing thermometer
TEMP | Capteur de température dans bouteille de prélèvement | TEMPPR01 | Temperature of the water body
TURB | Turbidimètre optique (lumière blanche - TURB) dans échantillon | NEPHIF01 | Turbidity of water in the water body by in-situ nephelometer
TURB | Capteur turbidimètre lumière blanche 90Â° in situ | TURBXXXX | Turbidity of water in the water body
TURB | Capteur turbidimètre norme ISO 7027 in situ | TURBXXXX | Turbidity of water in the water body
TURB-FNU | Capteur turbidimètre norme ISO 7027 in situ | TURBPR01 | Turbidity of water in the water body by in-situ optical backscatter measurement and laboratory calibration against formazin
TURB-FNU | Turbidimètre optique (ISO 7027 - TURB FNU) dans échantillon | TURBPR01 | Turbidity of water in the water body by in-situ optical backscatter measurement and laboratory calibration against formazin
TURB | Capteur turbidimètre lumière blanche 90° in situ | TURBXXXX | Turbidity of water in the water body